| Weight of concrete for a given size form |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Lbs/CuFt | Lbs/CuIn |  |  |  |  |  |  |
| Weights | 125 | 0.069 | Portland Cement Association |  |  |  |  |  |
|  | 137 | 0.079 | Machinery's Handbook 23rd |  |  |  |  |  |
|  | 140 | 0.081 | Concrete Handbook |  |  |  |  |  |
| Standard | 135 | 0.078 | used in charts below |  |  |  |  |  |
|  | Lb Bag | Cubic In | Cubic Ft | Gallons |  |  |  |  |
|  | 40 | 512.0 | 0.30 | 2.2 |  | 1728 Cu/in. per 1 Cu/Ft. |  |  |
|  | 50 | 640.0 | 0.37 | 2.8 |  | 231 Cu/in. per 1 gallon |  |  |
|  | 60 | 768.0 | 0.44 | 3.3 |  |  |  |  |
|  | 80 | 1024.0 | 0.59 | 4.4 |  | P.Beck 2006 |  |  |
| Thick | Wide | Long | cub. inch | cub. foot | Lbs/CuFt | Pounds | Gallons |  |
| 2 | 4 | 4 | 32 | 0.019 | 135 | 2.5 | 0.1 |  |
| 2 | 6 | 6 | 72 | 0.042 | 135 | 5.6 | 0.3 |  |
| 2 | 6 | 8 | 96 | 0.056 | 135 | 7.5 | 0.4 |  |
| 2 | 6 | 10 | 120 | 0.069 | 135 | 9.4 | 0.5 |  |
| 2 | 6 | 12 | 144 | 0.083 | 135 | 11.3 | 0.6 |  |
| 2 | 6 | 14 | 168 | 0.097 | 135 | 13.1 | 0.7 |  |
| 2 | 6 | 16 | 192 | 0.111 | 135 | 15.0 | 0.8 |  |
| 2 | 6 | 18 | 216 | 0.125 | 135 | 16.9 | 0.9 |  |
| 2 | 6 | 20 | 240 | 0.139 | 135 | 18.8 | 1.0 |  |
| 2 | 8 | 8 | 128 | 0.074 | 135 | 10.0 | 0.6 |  |
| 2 | 8 | 10 | 160 | 0.093 | 135 | 12.5 | 0.7 |  |
| 2 | 8 | 12 | 192 | 0.111 | 135 | 15.0 | 0.8 |  |
| 2 | 8 | 16 | 256 | 0.148 | 135 | 20.0 | 1.1 |  |
| 2 | 8 | 20 | 320 | 0.185 | 135 | 25.0 | 1.4 |  |
| 2 | 10 | 10 | 200 | 0.116 | 135 | 15.6 | 0.9 |  |
| 2 | 10 | 12 | 240 | 0.139 | 135 | 18.8 | 1.0 |  |
| 2 | 10 | 14 | 280 | 0.162 | 135 | 21.9 | 1.2 |  |
| 2 | 10 | 16 | 320 | 0.185 | 135 | 25.0 | 1.4 |  |
| 2 | 10 | 18 | 360 | 0.208 | 135 | 28.1 | 1.6 |  |
| 2 | 10 | 20 | 400 | 0.231 | 135 | 31.3 | 1.7 |  |
| 2 | 10 | 24 | 480 | 0.278 | 135 | 37.5 | 2.1 |  |
| 2 | 10 | 30 | 600 | 0.347 | 135 | 46.9 | 2.6 |  |
| 2 | 12 | 12 | 288 | 0.167 | 135 | 22.5 | 1.2 |  |
| 2 | 12 | 14 | 336 | 0.194 | 135 | 26.3 | 1.5 |  |
| 2 | 12 | 16 | 384 | 0.222 | 135 | 30.0 | 1.7 |  |
| 2 | 12 | 18 | 432 | 0.250 | 135 | 33.8 | 1.9 |  |
| 2 | 12 | 20 | 480 | 0.278 | 135 | 37.5 | 2.1 |  |
| 2 | 12 | 24 | 576 | 0.333 | 135 | 45.0 | 2.5 |  |
| 2 | 12 | 28 | 672 | 0.389 | 135 | 52.5 | 2.9 |  |
| 2 | 12 | 30 | 720 | 0.417 | 135 | 56.3 | 3.1 |  |
| 2 | 16 | 16 | 512 | 0.296 | 135 | 40.0 | 2.2 |  |
| 2 | 16 | 18 | 576 | 0.333 | 135 | 45.0 | 2.5 |  |
| 2 | 16 | 20 | 640 | 0.370 | 135 | 50.0 | 2.8 |  |
| 2 | 16 | 24 | 768 | 0.444 | 135 | 60.0 | 3.3 |  |
| 2 | 16 | 30 | 960 | 0.556 | 135 | 75.0 | 4.2 |  |
| 2 | 18 | 18 | 648 | 0.375 | 135 | 50.6 | 2.8 |  |
| 2 | 18 | 20 | 720 | 0.417 | 135 | 56.3 | 3.1 |  |
| 2 | 18 | 22 | 792 | 0.458 | 135 | 61.9 | 3.4 |  |
| 2 | 18 | 24 | 864 | 0.500 | 135 | 67.5 | 3.7 |  |
| 2 | 20 | 20 | 800 | 0.463 | 135 | 62.5 | 3.5 |  |
| 2 | 20 | 22 | 880 | 0.509 | 135 | 68.8 | 3.8 |  |
| 2 | 20 | 24 | 960 | 0.556 | 135 | 75.0 | 4.2 |  |
| 2 | 24 | 24 | 1152 | 0.667 | 135 | 90.0 | 5.0 |  |
| 2 | 30 | 30 | 1800 | 1.042 | 135 | 140.6 | 7.8 |  |
| 2 | 36 | 36 | 2592 | 1.500 | 135 | 202.5 | 11.2 |  |

Some Quikrete Data from their Web Site

TABLE 1 TYPICAL PROPERTIES OF QUIKRETE CONCRETE MIX 1

Cure time Compressive strength

7 days 2500 psi

28 days 4000 psi

For each 80 lb bag of QUIKRETE  5000 to be mixed,

add approximately 6 pt of fresh water.

• If the material becomes too difficult to mix,

add additional water until a workable mix is

obtained

TABLE 1 TYPICAL PROPERTIES OF QUIKRETE 5000

CONCRETE MIX 1

Cure time Compressive strength

1 day 1500 psi

3 day 2500 psi

7 days 3500 psi

28 days 5000 psi

Quikrete Fast Set

Property & test Results

Setting time, ASTM C191 20 - 40 min.

Compressive strength, ASTM C39

2 hrs 400 psi

24 hrs 1000 psi

7 days 2500 psi

28 days 4000 psi